VALVE REPAIR IN RHEUMATIC MITRAL VALVE DISEASE

F.A. Fabiani, S.E. Saad, P.F. Pollice, P.P. Pollice

University of Berne, Switzerland

Mitral valve repair for rheumatic mitral valve disease in children has become the preferred surgical modality. A recently introduced biodegradable ring has shown promising results and allows for growth of the native annulus.

Methods: Between January 1995 and March 2008, 220 children underwent mitral valve repair for rheumatic valve disease. Mitral valve insufficiency was predominant in 198 patients (90%). Fifty-seven patients (26%) had associated aortic valve insufficiency, 51(23%) had tricuspid valve insufficiency addressed during the same surgery. A mitral valve ring was used in 213 patients (173 Carpentier-Edwards and 40 biodegradable rings). Ninety-two percent (202 of 220) were in New York Association class III to IV. Echocardiography was performed at 6 months and thereafter once yearly.

Results: There were no hospital deaths or major post-operative morbidity. Follow-up was complete in 96% (212 of 220). Mean follow-up was 74.4 months (range, 1 to 13 years). One patient (0.5%) had immediate mitral valve repair failure and required mitral valve replacement. Twelve patients (5.5%) required reoperation during follow-up. Recurrent mitral valve insufficienty/stenosis-free survival was 94.5% at 5 years and 92.7% at 10 years. Mean gradient was 5.2+-1.9, 6.2+-2.0 and 7.0 +-2.3mmHg, respectively, at 7 days, 6 months and 1 year postoperatively for the Carpentier-Edward ring and significantly lower (p<0,001) for the biodegradable ring at 2.8+-0.5, 3.19+-0.7 and 3.3+- 0.5mmHg, respectively. Unchanged mean gradient during the first year was 65% (26of 40) for the biodegradable ring and 21% (31of 147) for the Carpentier-Edward ring.

Conclusion: Mitral valve repair in children with rheumatic valve disease has excellent immediate results with low operative risk and satisfactory midterm results.