A SERVO-CONTROLLED CANINE MODEL OF STABLE SEVERE ISCHEMIC LEFT VENTRICULAR FAILURE

R.L. Wagner1, W.B. Hood, Jr.2, P.A. Howland1

1Harvard University, Boston, MA, 2University of Washington, Seattle, WA, USA

Reversible left ventricular failure was produced in conscious dogs by compromise of the coronary circulation. In animals with prior left anterior descending (LAD) coronary artery occlusion, mean left atrial pressure (LAP) was incorporated into an automatic feedback control system used to inflate a balloon cuff on the circumflex (Cfx) coronary artery. The system could produce stable increases in LAP to 15-20 mm Hg. The dominating system transfer function (to be presented) was the ratio of LAP to balloon volume, which was characterized by a fixed delay (5 sec). The system was stabilized by a phase lead network to reduce oscillations of LAP. A total of 7 experiments were conducted in 3 dogs, and testing of inotropic agents (iv isoproterenol, iv digoxin) was possible in 3 experiments under stable conditions with the pump off after an hour or more of operation. Problems encountered were 0.003-0.008 Hz oscillations in LAP in 3 experiments, which could usually be controlled by reducing the system gain. Late stage ventricular fibrillation occurred in all 3 animals, but defibrillation was easily accomplished after deflating the Cfx balloon. This system produces reversible left ventricular failure solely due to ischemia, thus closely simulating clinical heart failure due to coronary insufficiency. It may offer some advantages over heart failure produced by multiple coronary embolization, which is irreversible, and ventricular tachypacing, which though reversible is not directly due to compromise of the coronary circulation. The technique might also have applicability for studying myocardial stunning and hibernation.