RADIATION DOSE DURING CORONARY ANGIOGRAPHY: CORRELATION TO BMI

A. Shah, P.K. Das, E. Subkovas, M. Payne, A. Azzu, Rees M, C.M. Bellamy

Glan Clwyd Hospital, Bodelwyddan, UK, Ysbyty Gwynedd, Bangor, UK, Bangor University, UK

Introduction: Coronary angiography (CAG) is a commonly performed procedure in cardiology, resulting in patients being exposed to radiation. Patients with high body mass index (BMI) are at increased risk of coronary artery disease. Catheter laboratory intensifiers use automatic exposure control (AEC) which adjusts radiation dose aiming to provide optimal exposure. Factors shown to be responsible for dose variability are complexity of the procedure, operator experience and level of training in radiation protection, and type and performance of x-ray equipment. The objective of present study was to evaluate if radiation dose received by patients correlated with BMI.

Method: Retrospective data for 3162 CAG performed from Sep-07 to Mar-10 were analyzed. Radiation dose was calculated as Dose Area Product (DAP) in microGym2.

Results: Mean radiation dose during the procedure was 4339 ± 286 mGym2. Mean BMI, contrast volume used and screening time were 29.22 ± 0.08 kg/m2, 125 ± 1.0 ml and 5.2 ± 0.1 minutes respectively. BMI was positively correlated with increasing radiation dose during CAG (graph-1 & 2). Patients with increased BMI did not require prolonged procedure or increased contrast volume. There was no significant inter-operator variability.

Conclusion: Patients with increased BMI receive a higher radiation dose, during CAG. This has to be recognized by the operator when undertaking procedures in patients with a high BMI.

Graph – 1					Graph - 2