POLYMER FREE SIROLIMUS ELUTING STENT IN COMBINATION WITH OTHER STENTS IN SAME PATIENT- A SINGLE CENTRE EXPERIENCE

S. Kumar1, H. Rai1, A. Kapoor1, S. Tewari1, N. Sinha2

1Sanjay Gandhi PGIMS, Lucknow, UP, 2Sahara Hospital, Lucknow, UP, India

Background: Polymer free Sirolimus eluting stents have been shown to have similar results when compared with other drug eluting stents (DES).

Aim: Testing long-term equivalency in unselected real-world coronary lesions of various complexities, we evaluated these stents implanted in the same patient in combination with other stent types either DES or bare metal stents (BMS).

Methods: Study population consisted of 208 patients (232 Yukon, 193 other DES and 51 BMS) who had underwent combination coronary stent implantations. Clinically follow-up for a mean period of 49±18 months (range 6 to 79) was done.

Results: 83.2% subjects were males, mean age of subjects 58.8±9.2 years. 61(29.3%) were diabetics, 96 (46.2%) hypertensives while 36 (17.3%) smokers. Common clinical presentations were chronic stable angina (39.3%) and post myocardial Infarction (MI) angina(35.6%). 55(26.4%) had single vessel disease, 125(60.1%) had double vessel disease while 8 patients(3.85%) had triple vessel disease. The mean stent lengths were 20.79±4.39mm (Yukon), 22.68±7.40mm (other DES) and 19.74±5.45mm (BMS) and mean diameters were 3.05±0.30mm (Yukon), 3.00±0.29mm (other DES) and 2.94±0.51mm (BMS). During follow-up, 14 patients died, 9(4.33%) were cardiac deaths. 15(7.21%) patients underwent repeat angiography, out of them 4(1.92%) were undertaken for target lesion revascularization (TLR) for Instent restenosis (ISR) 3 cases of ISR in Yukon stents and 1 in other DES (Endeavor). 1(0.48%) underwent target vessel revascularization (TVR) and rest had patent stents. No case of documented stent thrombosis was found. 14 patients were lost to follow-up, rest 165 were asymptomatic at follow-up.

Conclusion: Polymer free Sirolimus eluting stent (Yukon) stents could be implanted in combination with other DES types or BMS with an equivalent intermediate and long-term clinical results.