MODERATE LESIONS ARE OFTEN SEVERE AND DIAGNOSABLE BY QUANTITATIVE CORONARY ANGIOGRAPHY (QCA)

C.L. Laham1, M.S. Chandra1, M.J. McMahon1, R. Venzon1, M. Jerin2,

N.W. Shammas2

1St. Lukes Hospital, Cedar Rapids, IA, 2Midwest Cardiovascular Research Foundation, Davenport, IA, USA

Background: Moderate coronary lesions (40-70%) are challenging as 2-dimensional (2D) angiography can miss severe disease.

Objectives: Evaluate incidence of severe disease (≥70% plaque area) in symptomatic moderate lesions and to assess diagnostic accuracy of conventional coronary angiography (CCA) and QCA.

Methods/Results: We evaluated severe disease incidence in 115 symptomatic moderate lesions using IVUS as gold-standard and compared diagnostic reliability of single tightest view CCA and QCA. Despite being “visibly” moderate, 109/115 (=95%) were truly severe by IVUS while only 6 were moderate (overall area % narrowings= 81.83% +/-6.85). Single tightest view diameter stenosis ≥40% identified occult severe disease: by CCA, 103 lesions were ≥ 40%, and 12 lesions <40%; by QCA 110 lesions were ≥ 40%, and 5 lesions <40% (See Table).

Table: Accuracy of CCA and QCA in Moderate Lesions to Find IVUS-Confirmed Severe Disease

| 2D diameter stenosis ≥40% (compared to IVUS lesion plaque area ≥70%) (n=109/115) | Pearson’s R-value | Sensitivity (Sens.) | Specificity (Spec.) | Positive Predictive Value (PPV) | Negative Predictive Value (NPV) | Accuracy |
| --- | --- | --- | --- | --- | --- | --- |
| Tightest lesion % by CCA ≥40% (n=103/115) | 0.510 (n=115) p<0.015 | Sens.=92% | Spec.=50% | PPV=97% | NPV=25% | 90% |
| Tightest lesion % (by Proximal Reference Vessel) QCA ≥40% (n=110/115) | 0.607 (n=115) p<0.001 | Sens.=99% | Spec.=67% | PPV=98% | NPV=80% | 97% |

Conclusion: In highly symptomatic moderate disease, 95% were truly severe by IVUS. This can be reliably detected by QCA using a ≥40% diameter stenosis in the tightest single view as a marker, but less reliably by CCA. Based on these results, all symptomatic moderate lesions ≥40% need further evaluation.