LOW-DOSE CT ASSESSMENT OF CORONARY STENTS IN A LARGE COHORT WITH HIGH-PITCH SPIRAL ACQUISITION MODE

K.T. Ho1, Q.W. Yong2, C. Panknin1

1Heart Consultants Pte Ltd, Mount Alvernia Hospital, Singapore, 2Tan Tock Seng Hospital, Singapore, 3Siemens Medical, Germany

Introduction: With the 128-slice dual-source CT scanner, a new high-pitch spiral scan mode acquires the heart in ¼ second. We applied an algorithm for scan protocol selection, & evaluated diagnostic quality & dose in the first 50 consecutive patients with stents post-PCI.

Methods: 520 consecutive patients (55 ± 15 years, body mass index 25.3±3.9 kgm-2, 70% male) referred for coronary imaging over 1 year were scanned on the Somatom Definition Flash, Siemens Healthcare. 50 had coronary stents. All patients were given beta-blockers to reduce the heart rate to &#8804; 65 bpm. Patients who did not respond were scanned with a sequential scan mode. Tube voltage was set to 80, 100, and 120kV for patients weighing less than 60kg (18%), between 60kg & 100kg, and >100kg (24%), respectively. All scans were evaluated for image quality.

Results: 49 patients were scanned using the Flash mode, mean radiation dose 1.01±0.56mSv.Of these, patients scanned at 80, 100, & 120kV received doses of 0.38±0.03, 0.90±0.36, and 1.78±0.15mSv respectively. One patient was scanned with the axial scan mode (heart rate 75bpm), receiving 2.46 mSv.The stents ranged in diameter from 2.75 to 4.0mm. 95% of the stented segments were deemed to be of diagnostic quality with confident reading by 2 experienced readers.

Conclusions: 1) The algorithm yielded diagnostic scans of stented segments in all patients.2) 99% of the patients were eligible for imaging with the Flash scan mode, which yielded consistent diagnostic quality imaging of coronary stents at a dose of 1 mSv.