OPTICAL COHERENCE TOMOGRAPHY IMAGING OF THE PATENT DUCTUS ARTERIOSUS:  FIRST KNOWN USES IN CONGENITAL HEART DISEASE

J.A. Hill1, M. Costa2, H. Bezerra2, C. Snyder1, T.G. Mahadevaiah1, M.W. Jenkins1

1. Rainbow Babies & Children's Hospital, University Hospitals Case Medical Center

2. University Hospitals Case Medical Center, Cleveland, OH, USA

Background:  Angiography is used to assess ductal morphology and caliber during interventional closure of the ductus arteriosus. We are evaluating the use of optical coherence tomography (OCT) to evaluate ductal anatomy given the potential benefit of superior resolution and lower radiation.

Methods:  Standard angiograms were performed on two patients with patent ductus arteriosus prior to device occlusion. OCT was then used to obtain high-resolution three-dimensional vessel reconstructions. Devices were chosen based on angiographic measurements.

Results:  OCT resulted in excellent three-dimensional anatomic definition, with minimal lumenal measurements of 2.2 x 3.1 mm and 1.6 x 2.3 mm, respectively, compared to angiographic measurements of 2.6 mm and 1.4 mm.

Conclusion:  To our knowledge, this is the first reported use of OCT use in patients with congenital heart disease.  We found OCT imaging of the PDA to be feasible, and only used a small amount of additional radiation and contrast.  The three-dimensional OCT reconstructions provided additional anatomic information that could potentially improve device selection, as in both of our cases would have led to choosing larger devices than what was chosen based on angiography.  In addition, once the technique is perfected, little or no angiography or fluoroscopy will be required to perform imaging runs, and only a small injection of contrast appears to be sufficient for vessel imaging.  More work needs to be done to comprehensively evaluate this modality, but if OCT is shown to be comparable or superior, it may potentially replace standard angiography by improving accuracy and decreasing overall radiation use in selected interventional procedures such as this one.