A MULTIMODAL APPROACH TO IMAGE INFLAMMATORY LIPID-RICH ATHEROMATA USING AN INTEGRATED HIGH-SPEED INTRAVASCULAR OCT/NIRF CATHETER WITH A FDA-APPROVED INDOCYANINE GREEN

S.K. Lee1, M.W. Lee2, H.S. Cho3, J.W. Song1, H.S. Nam2, D.J. Oh3, K.S. Park4,

W.Y. Oh3, H.K. Yoo2, J.W. Kim1

1. Multimodal Imaging and Theranostic Lab, Cardiovascular Center, Korea University Guro Hospital, Seoul, South Korea

2. Department of Biomedical Engineering, Hanyang University, Seoul, South Korea

3. Department of Mechanical Engineering, KAIST, Daejeon, South Korea

4. Divison of Bioimaging, Chuncheon Center, Korea Basic Science Institute, South Korea

Backgrounds: Atherosclerotic plaque rupture, the most important cause of acute cardiovascular events, has been strongly related with lipid-rich inflamed coronary plaques. The purpose of this study was to estimate lipid-rich inflamed plaques in vivo using a fully integrated high-speed optical coherence tomography (OCT)/near-infrared fluorescence (NIRF) molecular imaging with a FDA-approved indocyanine green (ICG).

Methods and Results: An integrated high-speed intravascular OCT/NIRF imaging catheter and a dual-modal OCT/NIRF system were constructed based on a clinical OCT platform. For imaging lipid-rich inflamed plaques, the FDA approved NIRF emitting ICG (2.25 mg/kg) or saline was injected intravenously into atherosclerotic rabbit models induced by balloon injury and 12- to 14-weeks of high-cholesterol diets. Twenty minutes after injection, in vivo OCT/NIRF imaging of infrarenal aorta and iliac arteries were performed only under contrast flushing through catheter (pullback speed up to 20 mm/sec). High-resolution OCT images of the vessel wall were acquired and strong NIRF signals were simultaneously detected in the OCT-visualized atheroma of the ICG injected rabbits. The in vivo NIRF target-to-background ratio (TBR) was nearly 4.3 times greater in the ICG-injected rabbits than in the saline-injected controls (6.63 ± 1.03 vs. 1.54 ± 0.17; p < 0.05). Ex vivo peak plaque TBRs was more than 3.2 times greater in ICG injected rabbits than in controls (7.34 ± 0.86 vs. 2.31 ± 0.17; p < 0.05)  on fluorescence reflectance imaging (FRI), which correlated well with the in vivo TBRs (p < 0.05, R² = 0.53) without significant bias (-0.37). Cellular ICG uptake, correlative fluorescence microscopy, and histopathology also corroborate the in vivo imaging findings.

Conclusions: Integrated OCT/NIRF structural/molecular imaging with a clinically available NIRF emitting ICG precisely demonstrated lipid-rich inflamed atheroma in coronary sized vessels. This highly translatable dual-modal imaging approach could offer a new avenue for accurate estimation of high-risk coronary plaques.