# 180

PERMANENT MECHANICAL CIRCULATORY SUPPORT.  NOW A  REALISTIC PROSPECT (Invited Lecture)

S. Westaby S. Saito

1=Oxford Heart Centre, Oxford, UK          10=

OBJECTIVES:  Heart failure is now a public health epidemic.  Donor hearts are severely restricted in availability.  Permanent mechanical circulatory support or bridge to myocardial recovery are emerging alternatives.  After extensive laboratory experience, we are sought to evaluate the Jarvik 2000 Heart in patients with endstage heart failure.  METHODS:  The Jarvik 2000 Heart is a novel thumb sized LVAD which is fitted within the apex of the native left ventricle.  A vascular graft offloads this to the descending thoracic aorta.  The pump rotor spins at between 8000-12000 rpm providing 5-6 litres blood flow per minute.  We have used the device with skull mounted power delivery for 12 permanent implants and trans-abdominal drive line for 25 bridge to transplant patients.  RESULTS:  All 37 patients survived the operation.  One year survival is 56%.  Survivors had early resolution of heart failure with return to NYHA 1.  All had pulsatile circulation.  The device was user friendly and imperceptible to the patient.  Both the pump and native left ventricle contributed to the cardiac output during exercise.  Twelve patients have been transplanted successfully.  Bridge to transplant mortality is 36%.  All explanted devices were free from thrombus formation.  Four permanent implant patients are now between 12 and 24 months post-operatively.  Two others are NYHAI, living at home.  One required TX and 5 have died.  CONCLUSIONS:  The Jarvik 2000 is an effective user-friendly LVAD which allows early discharge from hospital.  The intra-ventricular position has distinct advantages especially through absence of an inflow cannula.  Synergy develops between the LVAD and native heart ventricle.  Early experience suggests that this may be a realistic LVAD to treat heart failure routinely in the outpatient setting.

# Text boxes

4139