OFF-PUMP REPLACEMENT OF THE PULMONARY VALVE IN LARGE RIGHT VENTRICULAR OUTFLOW TRACTS: A HYBRID APPROACH

Y Boudjemline1,2 , S Schievano3, D Bonnet1,2, D Sidi1,2, P Bonhoeffer3

1Pediatic Cardiology, Necker for Sick Children Hospital, Paris, France, 2EMUI 0016, Necker University, Paris, France, 3Cardiothoracic Unit, Great Ormond Street Hospital, London, UK

Objectives: Percutaneous pulmonary valve replacement (PVR) has recently been introduced and is under investigation in humans. This technique is, however, limited to patients with a right ventricular outflow tract (RVOT) that does not exceed 22-mm in diameter. We report our experience of off-pump PVR in animals with large RVOTs using a hybrid approach.  Methods: 8 ewes were included in the protocol and equally divided into 2 groups. A left thoracotomy was firstly performed and the main pulmonary artery (PA) was banded using two radio-opaque rings with a diameter of 18-mm that allowed for further PVR. We then intended to implant a valved stent either percutaneously (group 1) or through a transventricular approach (group 2). All animals were sacrificed after valve implantation.  Results: The surgery allowed the pulmonary diameter to be reduced from 30 to 17.6-mm. The right ventricular pressure did not significantly increase after the reduction of the PA diameter (25 vs. 36-mmHg). Subsequent PVR through a percutaneous or a transventricular approach was always possible without any requirement of extracorporeal circulation. All devices were successfully delivered inside the PA banding and were functioning perfectly at early evaluation.  Conclusions: Implantation of a pulmonary valve is possible in ewes through a hybrid approach when the RVOT exceeds 22-mm in diameter. This involves both surgeons and interventionists and allows for a staged procedure where the valvulation is performed percutaneously; or for a combined hybrid approach where the valve is implanted off-pump transventricularly during the same surgery.