VENTRICULAR ASSIST DEVICE REALTED INFECTIONS INCREASE ONE YEAR MORTALITY

S.V. Pamboukian, T. Saavedra, J.A. Tallaj, R.N. Brown, J. George, M. Patel,

W.L. Holman, J.K. Kirklin, J. Baddley

University of Alabama at Birmingham, Birmingham, AL, USA

Purpose: The impact of left ventricular assist device (LVAD) related infections on outcome is not clearly defined.

Methods: Data were collected on the occurrence of infections and mortality among patients who received an LVAD from 2004 to 2009.

Results: 87 patients underwent LVAD implant with the majority receiving HeartMate II (44%) or HeartMate XVE (36%). Of these, 31 died, 21 were transplanted and 3 were explanted. The rest remained on LVAD. Median follow up was 1.1 years. Infection occurred in 56 patients (64%), including 42 patients with bloodstream infection (BSI), 38 with driveline infection (DLI), and 13 with LVAD pocket infection (patients may have had multiple sites). Overall, incidence of DLI at 1 year after implant was 50%. Incidence of DLI 1 year after implant in the pulsatile device group (PD) was 65% vs 39% in the continuous flow device group (CFD) (P=.03). One year survival before the first DLI was 87% which decreased to 75% after the first DLI (P=.04). Overall, incidence of BSI 1 year after implant was 41%. Incidence of BSI at 1 year after implant in the PD group was 57% vs 29% in the CFD group (P<0.01). One year survival before and after the first BSI was 91% vs 61% (P<0.01). Organisms causing first infection of any type were coagulase negative staphylococcus (50%), methicillin resistant S.aureus (12%), and methicillin sensitive S.aureus (11%).

Conclusions: Despite decreased incidence with CFD, DLI and BSI remain common post LVAD and result in decreased one year survival.